## Slide 1: Methodology for calculation of energy performance of buildings
Directive on the energy performance of buildings (EPBD):
2002/91/EC
2010/31/EU (recast)
2018/844/EU (amendment)

## Slide 2: EPBD (2002/91/EC, 2010/31/EU): Overview of standards
EN ISO 13790:2008
Energy performance of building – Calculation of energy use for space heating and cooling

## Slide 3: Directive 2018/844/EU: Changes in EPBD standards

## Slide 4: Directive 2018/844/EU: Changes in EPBD standards
100 standards in 11 modules

## Slide 5: DIN V 18599
DIN V 18599 - Energy efficiency of buildings – Calculation of the net, final and primary energy demand for heating, cooling, ventilation, domestic hot water and lighting

## Slide 6: DIN V 18599

## Slide 7: DIN V 18599: Zoning of building

## Slide 8: DIN V 18599: User profiles

## Slide 9: DIN V 18599: User profiles

## Slide 10: Software MEEC (Montenegrin Energy Efficiency Certification)

## Slide 11: MEEC: Main concepts
HVAC system
HVAC wizard (simplified approach)
HVAC wizard but developing more details
Detailed description (no HVAC wizard use)
Zone approach
Multi-zone approach (non-residential)
Single-zone approach (residential and non-residential)

## Slide 12: MEEC: User interface
Main area
Navigation tree
Instant results
Help / Parameters results

## Slide 13: MEEC: Menu structure
Two modes
Certification
Consultation mode/ Energy audits

## Slide 14: STEP 1: Definition of project data, energy auditors, etc.

## Slide 15: STEP 2: Definition of building data (1)
Building parameters in line with Rulebook on minimum energy efficiency requirements in buildings (methodology)

## Slide 16: STEP 2: Definition of building data (2)
Automation levels of building systems described in 4 classes, A to D

## Slide 17: STEP 2: Definition of building data (3)
DHW demands
List of all user defined constructions
List of windows used in the project
Conversion factors
Climate data

## Slide 18: STEP 3: Definition of building zones (in case of multi-zone approach) (1)
Single zone approach:
13 user profiles defined for building types specified in the Rulebook
Multi zone approach:
36 user profiles defined for different zones (consistent with profiles for building types)

## Slide 19: STEP 3: Definition of building zones (in case of multi-zone approach) (2)
Certification mode:
User profile data are “locked”.
Consultation/energy audit mode:
User profile data can be modified.

## Slide 20: STEP 4: Definition of building envelope elements (1)
U-values exceeding the minimum requirements from the Rulebook are marked in red

## Slide 21: STEP 4: Definition of building envelope elements (2)
Opaque envelope elements
Direct U-values entry
Definition of construction layers

## Slide 22: STEP 4: Definition of building envelope elements (3)
Transparent envelope elements
Direct U-value entry (and corresponding g and tau values)
Definition of window elements (glazing, frame, spacer)
+ definition of sun protection system

## Slide 23: STEP 5: Definition of technical systems in building (1)
If only HVAC wizard is used no entries in the navigation tree are shown (default values for the selected systems)

## Slide 24: STEP 5: Definition of technical systems in building (2)
If HVAC wizard is used to start but with refinement possibilities, the details of the HVAC systems can be seen in the navigation tree and changes can be made

## Slide 25: STEP 5: Definition of technical systems in building (3)

## Slide 26: STEP 6: Display of the results

## Slide 27: STEP 7: Definition of measures to improve energy efficiency of the building
EE measures:
Envelope
Lighting
HVAC – Heating
HVAC – DHW
HVAC – Cooling
HVAC – Ventilation
Power generation

## Slide 28: STEP 8: Generation of energy performance certificate (EPC)
* Calculation for EPC mode